## x3
0 | DATA TYPE | Carel Address (pCOWeb use) | MODBUS ADDR. | Description | 1Tool Variable / TAG | Default | M.U. | Max | Min | Decimal | Access type | Memo type | User Terminal: Password Level (Free; User; Service; Factory) | Enumeration List | Category (PGD loop) | Mask argument | Item condition | Source of condition | Comments | WEB (HTTPS) | SNMP | BACNET | Modbus TCP | Unit Series | Unit Type | Vers.
0
1 | DIGITAL | 198 | 199 | BMS Watchdog |  |  | - | 1 | 0 | - |  |  |  | Clear,Set | [5 empty] | X
2 | DIGITAL | 400 | 401 | Initialization Complete Modbus Active | start_jump_delay |  | - | 1 | 0 | - |  |  |  | No,Yes | [5 empty] | X
3 | DIGITAL | 401 | 402 | Reserved For Future Use |  |  | - | 1 | 0 | -
4 | DIGITAL
5 | DIGITAL | 402 | 403 | Reserved For Future Use |  |  | - | 1 | 0 | -
6 | DIGITAL | 403 | 404 | Reserved For Future Use |  |  | - | 1 | 0 | -
7 | DIGITAL | 404 | 405 | Reserved For Future Use |  |  | - | 1 | 0 | -
8 | DIGITAL | 405 | 406 | Reserved For Future Use |  |  | - | 1 | 0 | -

## x4
| 0 | 1
0 | -0.066234 | -0.68668
1 | -0.2963 | 0.17793
2 | -1.9482 | -1.1541
3 | 0.87104 | 0.25319
4 | -0.21917 | -0.28554
5 | 0.17089 | 0.66805
6 | 1.1478 | -0.49662
7 | 0.99336 | -1.4258
8 | 1.7341 | 0.23304
9 | 0.24062 | 2.3347
10 | 1.7099 | 0.68984
11 | -2.334 | -0.99149
12 | -1.2855 | -1.5459
13 | 0.54427 | -0.57979
14 | -0.75234 | -0.12165
15 | -1.3352 | -0.81217
16 | -1.2853 | 1.6859
17 | 0.80056 | 0.99823
18 | -1.4699 | 0.54626
19 | -0.10843 | 0.47458
20 | -0.063555 | -0.18089
21 | -1.6388 | 1.2583
22 | 2.16 | -0.76456
23 | 0.37556 | -0.40217
24 | 0.60976 | -1.502
25 | 0.83062 | 1.2389
26 | -0.15672 | 0.97598
27 | -0.50072 | 0.47384
28 | -0.38651 | 0.3092
29 | 0.0142 | -0.36268
30 | 0.45593 | 0.66798
31 | -0.054048 | 1.2223
32 | 1.3201 | 0.72233
33 | -0.62779 | -0.49484
34 | -0.40457 | -0.67857
35 | -1.0352 | 0.90001
36 | -0.66737 | 1.4886
37 | -1.7688 | -0.50416
38 | -0.81031 | 1.1679
39 | -0.85814 | 0.34218
40 | 0.00036031 | 0.6849
41 | 0.24306 | -0.15805
42 | 0.4535 | 1.3789
43 | -0.91489 | 0.17941
44 | 0.34798 | -0.27708
45 | -0.18037 | -0.95805
46 | 0.73039 | 0.35185
47 | 0.41054 | 0.45517
48 | -0.10702 | -0.90469
49 | 0.019817 | 0.057273
50 | 1.1531 | -1.8866
51 | 0.60541 | 1.0774
52 | -1.5452 | 1.6389
53 | 0.046477 | 0.60761
54 | 0.13255 | 0.54174
55 | -0.037217 | -1.6375
56 | -0.56447 | 0.68614
57 | 0.21651 | -0.67842
58 | -0.38905 | -0.46759
59 | -0.12095 | -0.77337
60 | -0.0014932 | 0.78596
61 | 2.2933 | 0.88666
62 | 1.4021 | -0.0015899
63 | -1.0314 | -0.77314
64 | 1.8825 | -0.38207
65 | 0.90522 | -0.65641
66 | 0.21579 | -0.3657
67 | -0.88321 | -1.1164
68 | 0.33722 | 2.5059
69 | -1.8009 | -1.0097
70 | 1.1104 | 0.45859
71 | 0.56819 | 1.2531
72 | 0.26167 | 0.83836
73 | -0.092312 | -0.636
74 | 0.31642 | -0.59726
75 | 1.5236 | -1.3628
76 | 0.29118 | -0.2627
77 | -0.62762 | 0.44776
78 | -0.7545 | 0.93237
79 | 1.938 | -1.0784
80 | 0.88741 | -1.0591
81 | -0.3596 | -0.95821
82 | 1.0278 | -0.43332
83 | 0.37153 | 0.89161
84 | 1.6901 | 2.7239
85 | -1.4707 | 0.44232
86 | -1.065 | -0.33263
87 | -0.43797 | -0.6977
88 | -0.84134 | 2.4056
89 | 0.095722 | 1.0816
90 | 0.37424 | 1.2658
91 | 0.23529 | -1.7257
92 | 0.42985 | -0.85512
93 | 0.63084 | -0.77281
94 | 0.96589 | -1.4009
95 | 0.19632 | 1.2459
96 | -0.93387 | 0.54435
97 | 0.356 | -0.38726
98 | -0.52374 | -0.22401
99 | 2.9899 | 0.80589